Chinese         English                         Home Page   News   Product  Feedback   About US   WebMap

| Product Directory Power Transformer Audio Transformer Three Phase Transformer Auto Transformer Control Transformer Power Adapter Special Transformer |  |
| --- | --- |

More Information About Toroidal Lighting Transformer

Toroidal Lilghting Transformer Specifications:

*Toroidal power transformer designed for haloid lighting;

*Small cubage, low temperature raise.

Sizes Of Form And Installations:

| Model | Capacity (VA) | Input (V) | Frequency (HZ) | Output (V) | Temperature raise (℃) | Formal Size |  | Weight kg | Fix-OS (mm) | screw (mm) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | H (mm) | D (mm) |  |  |  |
| LB-30 | 30 | 220V | 50 | 12 | ≤65 | 32 | 74 | 0.6 | Φ6.5 | M6 |
| LB-50 | 50 | 220V | 50 | 12 | ≤65 | 33 | 83 | 0.75 | Φ6.5 | M6 |
| LB-80 | 80 | 220V | 50 | 12 | ≤65 | 37 | 100 | 1.1 | Φ6.5 | M6 |
| LB-105 | 105 | 220V | 50 | 12 | ≤65 | 37 | 111 | 1.4 | Φ8.5 | M8 |
| LB-120 | 120 | 220V | 50 | 12 | ≤65 | 44 | 106 | 1.6 | Φ8.5 | M8 |
| LB-150 | 150 | 220V | 50 | 12 | ≤65 | 43 | 116 | 1.85 | Φ8.5 | M8 |
| LB-190 | 190 | 220V | 50 | 12 | ≤65 | 48 | 121 | 2.3 | Φ8.5 | M8 |
| LB-240 | 240 | 220V | 50 | 12 | ≤65 | 50 | 125 | 2.6 | Φ8.5 | M8 |
| LB-300 | 300 | 220V | 50 | 12 | ≤65 | 54 | 128 | 3 | Φ8.5 | M8 |
| LB-500 | 500 | 220V | 50 | 12 | ≤65 | 60 | 135 | 5.3 | Φ8.5 | M8 |

The Picture Of  Installation

The Picture Of Formal Size

Detailed Product Description